Zion – Structural Description Text

4/3/26

Points of Interest

No specific order, but knowledge needed:

- Horse Shoe Shaped Tunnel with 2 portals

- Tunnel Shape consists of 2 walls,  a floor, and flat roof

- Total Area:  1696.826 m2

- General tunnel dimensions seem to be 4m wide by 4m high

- Elevation of West portal: 1290m above mean sea level

- Elevation of East portal:  1295m above mean sea level

- Shaft Collar elevation: 1310m above msl

- Shaft Collar Vertical length 30 meters

- Simulation year July 2026

- Surface Rock 20ºC, surface datum 1290m, Geothermal Gradient 2ºC/100m, Surface pressure 100.8 kPa, dry bulb 36.9ºC, wet bulb 16.4ºC

- First two tunnel sections beyond portals: Granite, very rough blasted, damp

- All sections other than initial two tunnel sections each side: Concrete, concrete lined airway, Dry

- AC Room: Flanks off of to the east midway down the east portal

- AC Room: 5m long, 9m wide, 115kWR refrigeration capacity, good door on entry drift

- Diesel Gen Room: Extends North off the Center Tunnel connecting the east and west tunnels.

- Diesel Gen Room: 30 m long, 15 m wide, 315 kW heat, 2 generators placed in middle of room, both entries have leaky doors

- Diesel Gen Room: Contains 2 smaller rooms with in.  One Room is North West corner of Diesel Gen Room, the other room is in North East Corner of Gen Room.

- Exhaust/office chamber: flanks off to the west midway down the west portal

- Exhaust/office chamber: 5m long, 8 m wide, no door

- Both portals have leaky doors

- Diesel Generator data supplied. Use for size.   315 kW Sensible heat used for the room

- Fans labeled as: AC Fan, Diesel Exhaust, Shaft Fan.  Fan tables provided

- All duct round 1m diameter